## Takeoff Breakdown
DETAILED BREAKDOWN OF ITEMS
Project Name
Project Address
| Scope: |  | HVAC
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR HOUR | TOTAL LABOR HOUR | LABOR WAGE/ HOUR | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT PRICE (Labor & Material) | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 0
|  | 2 | DIVISION 02- EXISTING CONDITIONS
DEMOLITION
8 |  |  | Remove Ductwork | 43.97 | 0% | 43.97 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  | Remove HVAC Piping | 375.27 | 0% | 375.27 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  | Remove Diffuser | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  | Remove Exhaust Fan | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  | Remove In Line Pump | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  | Remove Triple Duty Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  | Remove Backdraft Damper | 20 | 0% | 20 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  | Remove Kitchen Supply Fan | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  | Remove Pneumatic Controls | 69 | 0% | 69 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  | Remove Exhaust Fan Controls | 20 | 0% | 20 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  | Remove Three Way Mixing Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  | Remove Automatic Air Damper & Louver | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  | Remove Terminal Box w/ All Associated Controls | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  | Remove Air Compressor & Associated Pneumatic ATC System Components | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PATCH & REPAIR
22 |  |  | Rework In this Area to make Room for Chilled Water Piping | 187.55 | 0% | 187.55 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  | HC shall remove, store & reinstall all ceiling tiles & ceiling grid for the installation of HVAC work. The HC shall temporarily support and reinstall existing ceiling mounted devices such as Gilles, Diffusers, Lighting, Speakers, Fire Alarm Strobes etc. necessary for the installation of HVAC work. Replace all material that are damaged during the course of work with new material which match existing. | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 0
|  | 23 | DIVISION 23- HVAC
FIXTURES
24 |  |  | Glycol Feed Unit | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  | Differential Pressure System | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  | Air Separator Mfr: SPIROTHERM Model: VDN400 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AIR COOLED CHILLERS
27 |  |  | CH-1: Air Cooled Chiller 97Ton MFR: Carrier Model: 30RC-112 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MAKE-UP AIR UNITS
28 |  |  | MAU-1: Make Up Air Unit CFM: 1575 MFR: GREENHECK Model: KSQ-12-M2-V6 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  | MAU-2: Make Up Air Unit CFM: 1575 MFR: GREENHECK Model: KSQ-12-M2-V6 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TERMINAL BOXES
30 |  |  | Terminal Box As TB-3 250CFM Mfr: TITUS Model: DESV | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  | Terminal Box As TB-4 200CFM Mfr: TITUS Model: DESV | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  | Terminal Box As TB-5 450CFM Mfr: TITUS Model: DESV | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  | Terminal Box As TB-6 280CFM Mfr: TITUS Model: DESV | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  | Terminal Box As TB-7 150CFM Mfr: TITUS Model: DESV | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  | Terminal Box As TB-8 250CFM Mfr: TITUS Model: DESV | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 |  |  | Terminal Box As TB-9 420CFM Mfr: TITUS Model: DESV | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PUMPS
37 |  |  | P-1: Pump MFR: B&G Model: 3EB | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  | P-2: Pump MFR: B&G Model: 3EB | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  | P-3: Pump MFR: B&G Model: 3x3x7C | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  | P-4: Pump MFR: B&G Model: 3x3x7C | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  | P-5: Pump MFR: B&G Model: 3x3x11B | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  | P-6: Pump MFR: B&G Model: 3x3x11B | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  | P-7: Pump MFR: B&G Model: 3x3x9.5C | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROOF VENTILATORS
44 |  |  | GRV-1: Gravity Roof Ventilator CFM: 1000 MFR: CREENHECK Model: GRSI-18 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 |  |  | GRV-2: Gravity Roof Ventilator CFM: 1250 MFR: CREENHECK Model: GRSI-18 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  | GRV-3: Gravity Roof Ventilator CFM: 5OO MFR: CREENHECK Model: GRSI-18 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  | GRV-4: Gravity Roof Ventilator CFM: 1250 MFR: CREENHECK Model: GRSI-18 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  | GRV-5: Gravity Roof Ventilator CFM: 1250 MFR: CREENHECK Model: GRSI-18 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 |  |  | GRV-6: Gravity Roof Ventilator CFM: 1250 MFR: CREENHECK Model: GRSI-18 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  | GRV-7: Gravity Roof Ventilator CFM: 1000 MFR: CREENHECK Model: GRSI-18 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AIR DEVICES
DIFFUSERS
51 |  |  | Squre Plaque Diffuser As: SPD 210CFM | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 |  |  | Squre Plaque Diffuser As: SPD 250CFM | 30 | 0% | 30 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  | Squre Plaque Diffuser As: SPD 300CFM | 26 | 0% | 26 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 |  |  | Squre Plaque Diffuser As: SPD 325CFM | 26 | 0% | 26 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 |  |  | Squre Plaque Diffuser As: SPD 375CFM | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GRILLES
56 |  |  | Double Deflection Grille As: DDG 165CFM | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  | Double Deflection Grille As: DDG 170CFM | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CONTROLS
58 |  |  | New Controls For Unit Heater | 11 | 0% | 11 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 |  |  | New DDC Controls For Exhaust Fans | 20 | 0% | 20 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 |  |  | New Controls For Finned Tube Radiator | 10 | 0% | 10 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 |  |  | New Controls For Hot Water Convector | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
62 |  |  | New Controls For Radiant Ceiling Panels | 36 | 0% | 36 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DAMPERS
63 |  |  | Volume Damper | 91 | 0% | 91 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 |  |  | Motorized Damper | 18 | 0% | 18 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  | Motorized Damper Actuator | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SENSORS
66 |  |  | Humidistat | 28 | 0% | 28 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 |  |  | Thermostat (To Be Confirmed) | 28 | 0% | 28 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 |  |  | Carbon Dioxide Sensor | 28 | 0% | 28 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS
69 |  |  | Duct Transition | 15 | 0% | 15 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
70 |  |  | 90 Degree Elbow | 44 | 0% | 44 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MISC. ITEMS
71 |  |  | Adaptable Roof Curb | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 |  |  | Concrete Pad For HVAC Equipments | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PIPING
73 |  |  | 1-1/4" Dia Condensate Drain Pipe | 145.38 | 5% | 152.649 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER SUPPLY & RETURN PIPES
74 |  |  | 1" Hot Water Pipe | 1268.87 | 5% | 1332.3135 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  | 6" Hot Water Pipe | 39.11 | 5% | 41.0655 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 |  |  | 3/4" Hot Water Pipe | 355.46 | 5% | 373.233 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
77 |  |  | 1-1/2" Hot Water Pipe | 146.2 | 5% | 153.51 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
78 |  |  | 1-1/4" Hot Water Pipe | 309.1 | 5% | 324.555 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHILLED WATER SUPPLY & RETURN PIPES
79 |  |  | 2" Chilled Water Pipe | 369.74 | 5% | 388.227 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 |  |  | 3" Chilled Water Pipe | 354.35 | 5% | 372.0675 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
81 |  |  | 4" Chilled Water Pipe | 1024.46 | 5% | 1075.683 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  | 3/4" Chilled Water Pipe | 34.84 | 5% | 36.582 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
83 |  |  | 1-1/2" Chilled Water Pipe | 549.73 | 5% | 577.2165 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  | 2-1/2" Chilled Water Pipe | 378.51 | 5% | 397.4355 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 |  |  | 1-1/4" Chilled Water Pipe | 1404.86 | 5% | 1475.103 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DUCTWORK
FLEXIBLE DUCTS
86 |  |  | 8" Dia Flexible Duct | 38.47 | 5% | 40.3935 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 |  |  | 10" Dia Flexible Duct | 387.84 | 5% | 407.232 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROUND DUCTS
88 |  |  | 8" Dia Round Duct | 26.99 | 5% | 28.3395 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89 |  |  | 10" Dia Round Duct | 1044.63 | 5% | 1096.8615 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  | 12" Dia Fabric Round Duct | 137.32 | 5% | 144.186 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
91 |  |  | 14" Dia Fabric Round Duct | 48.18 | 5% | 50.589 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RECTANGULAR DUCTS
92 |  |  | 8"x6" Rectangular Duct | 14.69 | 5% | 15.4245 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
93 |  |  | 10"x10" Rectangular Duct | 13.6 | 5% | 14.28 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  | 12"x8" Rectangular Duct | 16.93 | 5% | 17.7765 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  | 12"x10" Rectangular Duct | 18.44 | 5% | 19.362 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  | 14"x8" Rectangular Duct | 20.49 | 5% | 21.5145 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
97 |  |  | 15"x12" Rectangular Duct | 180.45 | 5% | 189.4725 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
98 |  |  | 15"x14" Rectangular Duct | 235.84 | 5% | 247.632 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
99 |  |  | 18"x10" Rectangular Duct | 13.26 | 5% | 13.923 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
100 |  |  | 20"x10" Rectangular Duct | 111.51 | 5% | 117.0855 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
101 |  |  | 28"x8" Rectangular Duct | 29.38 | 5% | 30.849 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
102 |  |  | 30"x8" Rectangular Duct | 36 | 5% | 37.8 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INSULATION
103 |  |  | 1" Thick Insulation On 8" Dia Round Duct | 56.7816 | 10% | 62.4597 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
104 |  |  | 1" Thick Insulation On 10" Dia Round Duct | 2722.5147 | 10% | 2994.7662 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
105 |  |  | 1" Thick Insulation On 12" Dia Fabric Round Duct | 431.1848 | 10% | 474.3033 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
106 |  |  | 1" Thick Insulation On 14" Dia Fabric Round Duct | 177.0037 | 10% | 194.7041 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
107 |  |  | 1" Thick Insulation On 8"x6" Rectangular Duct | 34.2767 | 10% | 37.7043 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
108 |  |  | 1" Thick Insulation On 10"x10" Rectangular Duct | 45.3333 | 10% | 49.8667 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
109 |  |  | 1" Thick Insulation On 12"x8" Rectangular Duct | 56.4333 | 10% | 62.0767 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
110 |  |  | 1" Thick Insulation On 12"x10" Rectangular Duct | 67.6133 | 10% | 74.3747 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
111 |  |  | 1" Thick Insulation On 14"x8" Rectangular Duct | 75.13 | 10% | 82.643 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
112 |  |  | 1" Thick Insulation On 15"x12" Rectangular Duct | 812.025 | 10% | 893.2275 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
113 |  |  | 1" Thick Insulation On 15"x14" Rectangular Duct | 1139.8933 | 10% | 1253.8827 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
114 |  |  | 1" Thick Insulation On 18"x10" Rectangular Duct | 61.88 | 10% | 68.068 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
115 |  |  | 1" Thick Insulation On 20"x10" Rectangular Duct | 557.55 | 10% | 613.305 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
116 |  |  | 1" Thick Insulation On 28"x8" Rectangular Duct | 176.28 | 10% | 193.908 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
117 |  |  | 1" Thick Insulation On 30"x8" Rectangular Duct | 228 | 10% | 250.8 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 0
[10 empty] | TOTAL LABOR COST |  | 0 | TOTAL MATERIAL COST | 0
|  |  | TOTAL AMOUNT | [12 empty] | 0
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  |  |  |  | 0
|  |  | OVERHEAD AND PROFIT (10%) | [7 empty] | 10% |  |  |  |  | 0
|  |  | TAX (6%) | [7 empty] | 6% |  |  |  |  | 0
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  |  |  |  | 0
|  |  | TOTAL BASEBID | [12 empty] | 0